## Instruction
Guidance to the Data Requirement Matrix
The Data Requirements Matrix has been developed to support clients in establishing their Asset Information Requirements. It should be used in tandem with the guidance paper; Data Requirements for the construction and management of buildings; A guide for clients from the UKBIM Alliance.
This Matrix has recommended Systems and Products (based on Uniclass 2015) that can be selected for a building project to collect data for attribution in the Asset Information Model. It also contains suggested product performance attributes, that you may wish to choose for those systems and products.
PLEASE NOTE it is NOT a definitive list of all the systems/products and their associated attributes. It is meant as a guide/starting point for clients to set their data requirements. The attributes are indicative of the detail to be captured across all fabric and MEP assets within a building. The attributes required will depend on the specific needs of the client and its FM Supply chain and should be edited accordingly (see the associated guidance paper Data Requirements for the construction and management of buildings; A guide for clients from the UKBIM Alliance).
Systems and Products
There are two tabs Systems and Products.
The Systems and Products in the list have been compiled based on the most commonly selected Systems and Products by clients in a study of many building projects. N.B. This is therefore NOT a definitive list.
Recommendation – Products/Systems should be added to/edited by the client and their project teams to meet their own needs.
As noted, when selecting which Products and Systems you would like to select to collect data for, it should be done within the context of the Plain Language Questions as stated within the Employer’s Information Requirements (see PAS 1192-2) and consideration should be also given to the Criticality and Vulnerability of the System or Product. e.g. Concrete Frame Structure, Criticality – High, but Vulnerability – Low, whilst a Fire Sprinkler System is Criticality High and Vulnerability – High. Therefore, it is more important to capture data for the Sprinkler System.
The Products that are in red text are those that are not suggested within the National BIM Standard (NBIMS) United states Version 3 https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie.pdf but have been requested on many projects by clients
The Systems and Products have been classified according to Uniclass 2015, they have also been mapped to IFC Classification regarding their IFC Entity and Enumeration.
Attributes
The attributes have been broken down into the following categories - COBie Type, Component, and performance (based on European Standards) - Structural/Architectural/MEP, Electrical and Environmental.
The attributes in the Matrix have been selected from research into the most commonly required and utilised attributes within regulations, standards, and client specification on projects. N.B. This is a recommendation to get clients started with selecting attributes for projects.
Recommendation – Attributes should be selected from the Matrix and extra attributes can be added to meet the clients and their project team’s needs. The selection of extra attributes should be done based on European, UK and openBIM standards via Product Data Templates, see CEN 442 WG4 https://standards.cen.eu/dyn/www/f?p=204:7:0::::FSP_ORG_ID:1991542&cs=16AAC0F2C377A541DCA571910561FC17F
Within the matrix each of the attributes have been given their recommended purposes, based on the BS 1192-4 standard. These state the purpose that the data is meant to be used for.
As with the Systems and Products columns, not all the attributes are meant to be required for every project as this is down to your organisational and project needs. Therefore, you can use the Matrix to select which attributes you require for which System and Product you would like to capture data for. N.B. We recommend that the selection of Product Systems and Attributes is done in conjunction with the Asset/Facilities Manager where possible as they will be the people who consume and utilise the data for operation and maintenance of the buildings.
Once the Matrix has been completed it should be issued within your Asset Information Requirements documents and issued to supply chain.

## System
[8 empty] | System performance attributes | [13 empty] | System environmental attributes
|  |  |  | Data --> |  |  |  | FireRating | AcousticRating | ThermalTransmittance | SecurityRating | Structural performance | FlowRate | Pressure | Weight | RatedVoltage | IP_Code (Degree of protection) | RatedCurrent | NumberOfPhases | RatedFrequency | RatedPower | Global Warming Potential (GWP) | Embodied energy
|  |  |  | Data Source --> |  |  |  | IFC4 schema | [13 empty] | EN 15804
|  |  |  | Purposes --> |  |  |  | Operation | Operation | Operation | Capacity and utilisation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Impacts | Impacts
Applicability |  | Prioritisation |  | Benchmarking
|  | System Criticality | System Vulnerability | Servng measure (capacity or performance) | Served measure (floorspace, volume, people) | Capital cost | Annual cost
Entity | Category (Uniclass 2015) | Maintenance | Maintenance | Operation | Operation | Impact | Impact
System | Ss_25_30_20 : Door, shutter and hatch systems | X | X | X | X | X | X
System | Ss_25_30_95 : Window systems | X | X | X | X | X | X
System | Ss_25_32_35 : Gate systems | X | X | X | X | X | X
System | Ss_30_30_72_73 : Roof window systems | X | X | X | X | X | X
System | Ss_40_15_75_78 : Shower area systems | X | X | X | X | X | X
System | Ss_40_45 : Living space FF&E systems | X | X | X | X | X | X
System | Ss_50_30 Drainage collection and distribution systems | X | X | X | X | X | X
System | Ss_55_30 : Fire extinguishing systems | X | X | X | X | X | X
System | Ss_75_70_54_10 : Building monitoring and management systems | X | X | X | X | X | X
System | Ss_80_20 : Conveying systems | X | X | X | X | X | X
System | Ss_80_20_62_53 : Moving walkway systems | X | X | X | X | X | X
System | Ss_80_50 : Lift systems | X | X | X | X | X | X
System | Ss_20_05_15 : Concrete foundation systems | X | X | X | X | X
System | Ss_20_05_65 : Piling systems |  |  | X | X | X
System | Ss_20_20 : Structural beams |  |  | X | X | X
System | Ss_20_30 : Structural columns |  |  | X | X | X
System | Ss_20_60 : Retaining wall systems |  |  | X | X | X
System | Ss_25 : Wall and barrier systems |  |  | X | X | X
System | Ss_25_10_20 : Curtain walling systems |  |  | X | X | X
System | Ss_25_12_65 : Panel partition systems |  |  | X | X | X
System | Ss_30_20 : Flooring and decking systems | X | X |  | X | X | X
System | Ss_30_25 : Ceiling and soffit systems | X | X |  | X | X | X
System | Ss_30_42 : Floor covering and finishing systems | X | X |  | X | X | X
System | Ss_35_10 : Stair and ramp structure systems | X | X | X | X | X

## Product
[7 empty] | COBie type data | [23 empty] | COBie Component (instance) data | [6 empty] | Product Performance attributes | [13 empty] | Product Environmental attributes
[5 empty] | Data --> |  | Name | CreatedBy | CreatedOn | Category | Description | AssetType | Manufacturer | ModelNumber | WarrantyGuarantorParts | WarrantyDurationParts | WarrantyGuarantorLabor | WarrantyDurationLabor | WarrantyDurationUnit | ReplacementCost | ExpectedLife | DurationUnit | Warranty description | NominalLength | NominalWidth | NominalHeight | Shape | Colour | Finish | Material | Name | CreatedBy | CreatedOn | Description | Serial number | InstallationDate | WarrantyStartDate | FireRating | AcousticRating | ThermalTransmittance | Security rating | Structural performance | FlowRate | Pressure | Weight | RatedVoltage | IP_Code (Degree of protection) | RatedCurrent | NumberOfPhases | RatedFrequency | RatedPower | Global Warming Potential (GWP) | Embodied energy | Volatile Organic Compounds (VOCs) | Ozone Depletion Potential (ODP)
[5 empty] | Data Source --> |  | COBie schema | [23 empty] | COBie schema | [6 empty] | IFC4 schema | [13 empty] | EN 15804
[5 empty] | Purposes --> |  | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Replacement | Maintenance | Maintenance | Maintenance | Maintenance | Maintenance | Maintenance | Replacement | Replacement | Replacement | Maintenance | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Asset Register | Maintenance/Replacement | Maintenace /Replacement | Operation | Operation | Operation | Capacity and utilisation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Operation | Impacts | Impacts | Impacts | Impacts
Applicability |  |  | Prioritisation |  | IFC versions
IFC Entity | Enumeration (Predefined Type) | Category (Uniclass 2015) | Product/System Criticality | Product/System Vulnerability | IFC2x3 | IFC4
AirTerminal | DIFFUSER | Pr_70_65_04 : Air terminals and diffusers | low | moderate | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [6 empty] | x | x | x | [6 empty] | x | x
AirTerminal | GRILLE | Pr_70_65_04 : Air terminals and diffusers |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [6 empty] | x | x | x | [6 empty] | x | x
AirTerminal | LOUVRE | Pr_70_65_04 : Air terminals and diffusers |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [6 empty] | x | x | x | [6 empty] | x | x
AirTerminal | USERDEFINED - AIRTRANSFERDEVICE | Pr_70_65_04 : Air terminals and diffusers |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [6 empty] | x | x | x | [6 empty] | x | x
AirToAirHeatRecovery | NOTDEFINED | Pr_60_60_36 : Heat recovery distribution equipment |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x |  | x
Alarm | NOTDEFINED | Pr_75_50_18_02 : Alarms | high | high | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Boiler | NOTDEFINED | Pr_60_60_08 : Boilers |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x |  | x | [5 empty] | x | x |  | x | x | x | x | x | x
Chiller | NOTDEFINED | Pr_60_60_13 : Chillers and cooling towers |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  |  | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x |  | x
Controller | NOTDEFINED | Pr_75_50_18 : Controllers and control panels |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
DiscreteAccessory | USERDEFINED - WCSEAT | Pr_40_20_93_95 : WC seats and covers |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [7 empty] | x | [6 empty] | x | x
DiscreteAccessory | USERDEFINED | Pr_30_59_09 : Brise-soleils and components |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  |  | x | x | x |  | x |  | x | x | x | x | x | [17 empty] | x | x
DistributionSystem | EARTHING | Pr_65_70_46: Lightning protection and earthing components |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x |  | x | x | x | x
Door | DOOR | Pr_30_59_24 : Doorsets |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | X |  |  |  | x | [6 empty] | x | x | x
Door | GATE | Pr_30_59_34 : Gates and turnstiles |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | X |  |  |  | x | [6 empty] | x | x
DuctSilencer | NOTDEFINED | Pr_65_65_25 : Ductwork and fittings |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x |  | x | x | x |  |  | x | x | x | [6 empty] | x | x
ElectricDistributionBoard | SWITCHBOARD | Pr_60_70_22 : Distribution boxes and switchboards |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x
ElectricDistributionBoard | CONSUMERUNIT | Pr_60_70_22_15 : Consumer units |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x
ElectricDistributionBoard | DISTRIBUTIONBOARD | Pr_60_70_22_22 : Distribution boards |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x
ElectricFlowStorageDevice | UPS | Pr_60_70_64_93 : Uninterruptible power supply (ups) units |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x
ElectricGenerator | ENGINEGENERATOR | Pr_60_70_65 : Power generators, engines and packaged combined heat and power (chp) units |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x
ElectricGenerator | USERDEFINED - WINDTURBINE | Pr_60_70_65 : Power generators, engines and packaged combined heat and power (chp) units |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x
Fan | NOTDEFINED | Pr_65_67_29 : Fans |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
FireSuppressionTerminal | FIREHYDRANT | Pr_70_55_97 : Water fire extinguishing outlets |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
FireSuppressionTerminal | SPRINKLER | Pr_70_55_97 : Water fire extinguishing outlets | high | high | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
FlowInstrument | USERDEFINED - ENERGYMETER | Pr_80_51_51_28 : Energy meters |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Furniture | NOTDEFINED | Pr_40_50 : Furnishings |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | [7 empty] | x | [6 empty] | x | x | x
HeatExchanger | NOTDEFINED | Pr_60_60_38 : Calorifiers and plate heat exchangers |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x |  | x
Lamp | FLUORESCENT | Pr_70_70_46_30 : Fluorescent lamps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | HIGHPRESSUREMERCURY | Pr_70_70_46_36 : High pressure mercury vapour lamps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | HIGHPRESSURESODIUM | Pr_70_70_46_37 : High pressure sodium vapour lamps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | LED | Pr_70_70_46_44 : Light:emitting diodes (LED) |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | OLED | Pr_70_70_46_44 : Light:emitting diodes (LED) |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | METALHALIDE | Pr_70_70_46_52 : Metal halide lamps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | COMPACTFLUORESCENT | Pr_70_70_46_77 : Self ballasted compact fluorescent lamps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Lamp | HALOGEN | Pr_70_70_46_90 : Tungsten halogen lamps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
LightFixture | DIRECTIONSOURCE | Pr_70_70_48 : Luminaires, lighting track and lighting accessories |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x
LightFixture | SECURITYLIGHTING | Pr_70_70_48 : Luminaires, lighting track and lighting accessories |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x
Outlet | POWEROUTLET | Pr_65_72_97_84 : Standard socket outlets |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
Pump | CIRCULATOR | Pr_65_53 : Pump products |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x |  | x
Pump | SUBMERSIBLEPUMP | Pr_65_53 : Pump products |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x |  | x
Pump | SUMPPUMP | Pr_65_53 : Pump products |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x |  | x
SanitaryTerminal | BATH | Pr_40_20_06_08 : Baths |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | BIDET | Pr_40_20_06_11 : Bidets |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | CISTERN | Pr_40_20_93_78 : Urinal cisterns |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | CISTERN | Pr_40_20_93_89 : WC cisterns |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | TOILETPAN | Pr_40_20_93_94 : WC pans |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | SINK | Pr_40_20_96 : Wash basins, sinks and troughs |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | WASHHANDBASIN | Pr_40_20_96 : Wash basins, sinks and troughs |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | SHOWER | Pr_40_20_60_78 : Shower enclosure packages |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
SanitaryTerminal | URINAL | Pr_40_20_93 : Urinal and WC fittings |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | [6 empty] | x | x
Sensor | NOTDEFINED | Pr_75_50_76 : Sensors and detectors |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x | x | x
ShadingDevice | JALOUSIE | Pr_30_59_09 : Brise-soleils and components |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  |  | x | x | x |  | x |  | x | x | x | x | x | [17 empty] | x | x
SolarDevice | SOLARCOLLECTOR | Pr_60_60_81 : Solar heat collectors |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  |  |  | x | [6 empty] | x | x | x | x |  |  | x | x | x
SolarDevice | SOLARPANEL | Pr_60_60_81 : Solar heat collectors |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | x | [6 empty] | x | x | x | x |  |  | x | x | x
TransportElement | ELEVATOR | Pr_80_77_46_46 : Lift cars |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  |  |  | x |  |  |  | x | [9 empty] | x | x
TransportElement | ESCALATOR | Pr_65_80_28_21 : Escalators |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  |  |  | x |  |  |  | x | [9 empty] | x | x
TransportElement | MOVINGWALKWAY | Pr_65_80_28_52 : Moving walks |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  |  |  | x |  |  |  | x | [9 empty] | x | x
TransportElement | CRANEWAY | Pr_65_80_15 : Cranes and lifting systems |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x |  |  |  | x |  |  |  | x | [9 empty] | x | x
UnitaryEquipment | USERDEFINED - HEATPUMP | Pr_70_60_37 : Heat pumps |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x |  | x
UnitaryEquipment | AIRCONDITIONINGUNIT | Pr_70_65_03 : Air conditioning units |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [7 empty] | x | x | x | x | x | x | x | x | x |  | x
UnitaryEquipment | USERDEFINED - FANCOILUNIT | Pr_70_65_03_29 : Fan coil units |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x |  | x
UnitaryEquipment | AIRHANDLER | Pr_60_65_03 : Air handling units |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x |  | x
Valve | FLUSHING | Pr_40_20_93 : Urinal and WC fittings |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
Valve | REGULATING | Pr_65_54 : Valve products |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
Valve | AIRRELEASE | Pr_65_54_24_02 : Air admittance valves |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
Valve | CHECK | Pr_65_54_30_12 : Check and non:return valves |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
Valve | ISOLATING | Pr_65_54_40_44 : Isolating valves |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
Valve | MIXING | Pr_65_54_95 : Water services valves Pr_65_54_95_88 : Thermostatic mixing valves |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
Valve | PRESSUREREDUCING | Pr_65_54_95_66 : Pressure reducing valves |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x | [5 empty] | x | x | x | x | x | x | x | x | x | x | x
WasteTerminal | NOTDEFINED | Pr_25_96_35_96 : Water grilles |  |  | Yes | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x | x |  |  |  | x | x | x | x | x | x | x | x | [5 empty] | x | [8 empty] | x | x
Window | SKYLIGHT | Pr_30_59_98 : Window units |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [10 empty] | x | x
Window | WINDOW | Pr_30_59_98 : Window units |  |  | No | Yes | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [11 empty] | x | x | x
Beam | LINTEL | Pr_20_85_48 : Lintels |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
CableCarrierFitting | BEND | Pr_65_70_11_20 : Conduit fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierFitting | CROSS | Pr_65_70_11_20 : Conduit fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierFitting | REDUCER | Pr_65_70_11_20 : Conduit fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierFitting | TEE | Pr_65_70_11_20 : Conduit fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierSegment | CABLELADDERSEGMENT | Pr_65_70_11_14 : Cable ladders |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierSegment | CABLETRAYSEGMENT | Pr_65_70_11_17 : Cable trays |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierSegment | CABLETRUNKINGSEGMENT | Pr_65_70_11_18 : Cable trunking |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
CableCarrierSegment | CONDUITSEGMENT | Pr_65_70 : Cables, conductors and fitting products |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
Column | COLUMN | Pr_20_85_16 : Columns and column accessories |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
Column | PILASTER | Pr_20_85_16 : Columns and column accessories |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
Covering | CLADDING | Pr_25_71_14 : Cladding and lining panels (lightweight cladding and roofing panels) |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
Covering | FLOORING | Pr_35_57 : Non-rigid sheet, mat and strip covering and finish products |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x | x
Covering | INSULATION |  |  |  | No No: Yes; Yes Yes: Deprecated; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
Covering | MEMBRANE |  |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
Covering | ROOFING | Pr_25_93_72 : Roofing and cladding units |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; X X: x | [10 empty] | x | x
Covering | USERDEFINED | Pr_30_59_09 : Brise-soleils and components |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
Covering | USERDEFINED - PAINT | Pr_35_31_22 : decorative coatings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x | x
DuctSegment | RIGIDSEGMENT | Pr_65_65_25 : Ductwork and fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x |  |  | x | x | [6 empty] | x | x
DuctSegment | FLEXIBLESEGMENT | Pr_65_65_25 : Ductwork and fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x |  |  | x | x | [6 empty] | x | x
Footing | NOTDEFINED | Pr_20_85_13 : Concrete base and foundation products |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
JunctionBox | NOTDEFINED | Pr_60_70_06_67 : Pv generator junction boxes |  |  | No No: No; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [5 empty] | x |  |  |  |  | x | x
Pile | NOTDEFINED | Pr_20_85_62 : Piles and ancillary products |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
PipeFitting | NOTDEFINED | Pr_65_52_63 : Pipes and fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x |  | x | x | [7 empty] | x | x
PipeSegment | NOTDEFINED | Pr_65_52_63 : Pipes and fittings |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x |  | x | x | [7 empty] | x | x
Railing | HANDRAIL | Pr_25_30_36 : Handrails |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x |  |  | x | [6 empty] | x | x
Railing | GUARDRAIL | Pr_20_85_07 : Barrier rails |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x |  |  | x | [6 empty] | x | x
Ramp | NOTDEFINED | Pr_30_59_01 : Access ramps |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x
Slab | FLOOR | Pr_20_85_14 : Concrete flooring and decking products |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; X X: x | x | [9 empty] | x | x
Slab | ROOF | Pr_20_85_14 : Concrete flooring and decking products |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
Stair | NOTDEFINED | Pr_25_30_85 : Stair and ladder units |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x | x
Wall | SHEAR | Pr_20_93_71 : Retaining wall units | very high | low | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
Wall | MOVABLE | Pr_25_71_57_60 : Partition panels | low | moderate | No No: No; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x | x
Wall | SOLIDWALL | Pr_20_93_85 : Structural walling units |  |  | No No: Yes; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | x | [9 empty] | x | x
Wall | PARTITIONING | Pr_25_71_57 : Non-metal barrier panels |  |  | No No: No; Yes Yes: Yes; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x; x x: x | [10 empty] | x | x | x