## Slide 1
robustdetails®
SAPIF 3rd meeting
Wed 06 March 2019
BEIS: Katy Read
BRE: John Henderson and Will Griffiths
RDL: John Tebbit (Chair) and Nick Booth
Rev 2.0
“OPEN” – anyone can view

## Slide 2
Agenda
10.00 – 10.20 Introductions etc
BEIS policy update & update on CCC report
Meeting objectives
10.20 – 11.20 WGs presentations
#1 (DHW), #2 (S.Controls) and #3 (H.Energy storage)
11.20 – 11.35 break
11.35 – 12.15 WGs presentations
#4 (O/heating) and #5 (Vent +IAQ)
12.15 - 12.45 Q&A session
12.45 – 13.00 Summary

## Slide 3
Introductions etc
As a reminder:
SAPIF is a joint RDL / BRE group
This work feeds into SAP11 and for technologies that will be available in mid-2020s onwards
5 WGs and their respective leaders / CoLeaders identified in last SAPIF meeting
The work of the 5 WGs will contribute toward ‘The Building Mission’
Timeframe is end Q1 2020 for submissions
It really is up to yourselves in industry to shape the future – your chance!! Don’t waste this opportunity.
End

## Slide 4
BEIS – Katy Read

## Slide 5
Clean Growth Strategy: key commitments on buildings
Consult on energy performance standards (Part L)
Phase out high carbon fossil fuel installation
Clean heating / Futureproofing
Addressing the performance gap
Innovation
EPC band C for existing buildings

## Slide 6
Clean Growth – Buildings Mission
At least halve the energy use of new buildings by 2030
Making sure every new building in Britain is safe, high quality, much more efficient and uses clean heating
Innovating to make low energy, low carbon buildings cheaper to build
Driving lower carbon, lower cost and higher quality construction through innovative techniques
Giving consumers more control over how they use energy through smart technologies
Halving the cost of renovating existing buildings to a similar standard as new buildings, while increasing quality and safety

## Slide 7
Existing homes
We set an aspiration that as many homes as possible will be upgraded to an Energy Performance Certificate (EPC) band C by 2035, where practical, cost effective, and affordable.
Consulting on tightening standards on the private rental sector over time, with an aspiration of Band C by 2030, and on setting an equivalent standard for social housing
Extending support for home energy efficiency to 2028 at “at least” current level of ECO funding (£640m per year)
Published a Call for Evidence on ‘Building a Market for Energy Efficiency’ covering owner occupier sector

## Slide 8
SAP developments
SAP v10.0 spec
Available now
SAP v10.1
Published alongside Part L consultation
SAP v10.2
Officially adopted – subject to consultation
SAP 11 research and development, engagement with the SAP Industry Forum
Adoption of the next version of SAP will be included in the Part L consultation
Alongside this, we are also developing our approach to new, innovative technology recognition to help support innovation.
End

## Slide 9
Working Groups
Notes: Output from each Working Group (SAPIF WG Terms of Reference)
The following points set out the basic areas that each WG should cover.
A list of any new/additional systems/technologies the group think should be included in SAP 11.
Practical definitions and explanations of each system/technology, including for any sub-categories that are likely to perform differently.
Information sources relevant to developing any new/additional methodology required. This could include any current or anticipated reports, data, standards, technical diagrams, etc. that the group is able to unearth. It would be useful if this included a short summary of the information contained for each item. (Sources would generally not include non-technical information, such as marketing material, or unsupported claims of performance.)
Market intelligence that informs understanding of the likely growth in deployment of the technology/system during the 2020s.
The group’s comments on any broader issues likely to impact on the approach taken in SAP or the wide applicability of a system/technology (e.g. dependence on policy, any technical/practical reasons for limited applicability).
Initial thoughts on modelling approaches for new/additional technologies/systems – e.g. the key factors likely to determine performance in dwellings. It would be useful if this could include commentary on likely real-world performance, e.g. sensitivity to imperfect installation, likelihood of imperfect installation.
It must be borne in mind that SAP is not a product approval system so definitions must be generic i.e. not by manufacturer.

## Slide 10
Working Groups’ overall objectives
The main objectives for the working groups set up by SAPIF are:
To establish the state of the art, sources of info. and basic explanations of the technologies/systems expected to be mature in the mid-2020s.
2. To propose some modelling criteria for the performance of the technologies; and secondly how compliance could be judged at both product and dwelling level.
If government decides to include recognition of the technology or system in SAP11, to work with government and the SAP contractor to develop the details. Note that the inclusion of any technology in a WG does not mean that it will necessarily be included in a future version of SAP.
Detailed generic outputs (6 no.) for each WG issued
Part L is not in scope
Notes: Output from each Working Group (SAPIF WG Terms of Reference)
The following points set out the basic areas that each WG should cover.
A list of any new/additional systems/technologies the group think should be included in SAP 11.
Practical definitions and explanations of each system/technology, including for any sub-categories that are likely to perform differently.
Information sources relevant to developing any new/additional methodology required. This could include any current or anticipated reports, data, standards, technical diagrams, etc. that the group is able to unearth. It would be useful if this included a short summary of the information contained for each item. (Sources would generally not include non-technical information, such as marketing material, or unsupported claims of performance.)
Market intelligence that informs understanding of the likely growth in deployment of the technology/system during the 2020s.
The group’s comments on any broader issues likely to impact on the approach taken in SAP or the wide applicability of a system/technology (e.g. dependence on policy, any technical/practical reasons for limited applicability).
Initial thoughts on modelling approaches for new/additional technologies/systems – e.g. the key factors likely to determine performance in dwellings. It would be useful if this could include commentary on likely real-world performance, e.g. sensitivity to imperfect installation, likelihood of imperfect installation.
It must be borne in mind that SAP is not a product approval system so definitions must be generic i.e. not by manufacturer.

## Slide 11
Working Groups
#1 Domestic Hot Water (DHW)
Steven Sutton (HHIC) and Jeff House (Building Alliance)
#2 Smart Controls, technologies & tarriffs
Colin Timmins (BEAMA)
#3 Home energy storage (heat and electricity)
Gill Kelleher (SPECIFC) and Hanae Chauvaud de Rochefort (Association for Decentralised Energy)
#4 Overheating incl prevention & cooling
Dave Bush (BBSA) and Phil Brown (GGF)
#5 Ventilation and Indoor Air Quality (IAQ)
Nick Howlett (FETA) and Adrian Regueira-Lopez (BEAMA)
End

## Slide 12
#1 Domestic Hot Water (DHW)
CoLeaders:
Jeff House
Steve Sutton

## Slide 13: SAP IF HEATING AND HOTWATER
6th March 2019

## Slide 14: SAPIF Group
Baxi | Jeff House
Worcester Bosch | Ewan Sutherland
Beama | Adrian Regueira-Lopez
Ideal Boilers | Andrew Keyworth
Enertek | Paul Needley
Recoup Energy | Ian Steward
Panasonic | Steffan Cook
Vaillant | Martin Butcher, Ian Johnson
Alpha Heating | Darran Smith
Thermaq | Tony Staniforth
Glen Dimplex | Tim Altham
Advance Appliances | Geoff Egginton
Mixergy | Peter Armstrong
Sav systems | Beata Blachut, Silas Flytkjaer
Ariston | Derek Warren
HWA | Martyn Griffiths

## Slide 15: Technology Categories
Technology | Methodology in SAP 10.0 | Category in PCDB
Hot Water Cylinders | Yes | No
 | Comment: Separate sub-category for heat pump compatible cylinders may be required to reflect heat coil transfer rates and performance. Flexibility and addressable storage significant potential | 
Thermal Stores and Combined Primary Storage Units | Yes | No
 | Comment: Flexibility and addressable storage significant potential | 
Combi Boiler | Yes | Yes
 | Comment: Methodology well established although any changes to treatment of FGHR would impact on boilers with inbuilt devices | 
Flue Gas Heat Recovery (FGHR) | Yes | Yes
 | Comment: Methodology may require attention to properly reflect difference between stored and non-stored design | 
Heat Pumps (hydronic system feeding cylinder / store) | Yes | Yes
 | Comment: Methodology well established | 
Heat Pumps (exhaust air separate or close coupled cylinder / store) | Yes | Yes
 | Comment: Further innovation linked to MVHR and potential comfort cooling integration | 
Heat Pumps (hybrid) | No | No
 | Comment: Methodology in development | 
Combined Heat and Power (all types, including engine, fuel cell and others) | Yes | Yes
 | Methodology for existing appliance types well represented through PAS 67, note that innovative products in development together with "add-on" types which would lead toward hybrid implementation | 

## Slide 16: Technology Categories
Waste Water Heat Recovery (WWHR) | Yes | Yes
 | Comment: Current methodology for WWHRS needs refinement. The idea of dynamic modelling could be crucial. Showering is likely to be one of, if not the highest peak demand for domestic energy. Methodology for SAP 11 should be considering this, and recognising the technology that improves energy efficiency for DHW. This will reduce the chance of actually having to use additional backups that are more carbon intensive, similar to the ideas of the current London Plan (Lean, Clean, Green). Consideration also needs to be give for the relationship between WWHRS and other technologies. E.g. Size of domestic hot water storage required when WWHRS is present (reducing standing heat losses), or size of combination boiler required to meet DHW demand, reduction of load on Heat pumps, HIU's and heat networks. Ontario and Manitoba in Canada (over 30% of all new builds) since 2017 have made WWHRS mandatory, due to the impact it can have on DHW loads in domestic dwellings. California is now in the process of doing the same. | 
Heat Interface Units (HIU) | Yes | No
 | Comment: General principle of heat networks acknowledged within SAP but needs more definition and detail, CIBSE CP1 offers good guidance. Performance data for HIU's showing significant spread in market so default value treatment not appropriate. Dynamic model could include diversity assessment for central plant and efficiency benefit of such. | 
Solar Thermal | Yes | No
 | Comment: Possible innovation around PVT and collector design | 
Solar Photovoltaic (PV) | Yes | No
 | Comment: As above ref. PVT. How the generated energy will be used is the key issue for SAP with grid interactivity influencing self consumption. | 
Instantaneous Point of Use Water Heaters (single and multipoint) | Yes | No
 | Comment: Includes electric showers | 
Storage Point of Use Water Heaters (single and multipoint) | Yes | No
 | Comment: currently commonplace in commercial applications, may become more widespread with potential future divergence from central hydronic heat / DHW system | 

## Slide 17: Next Steps
Group meeting 10th April
Input from MEHNA ref. heat networks
Discussion on overlaps and synergies between groups
Refine technology matrix
Define technology category templates

## Slide 18: SAP developments to help support innovative technologies
HHIC Questionnaires – based on topics below
Replies by 22nd March
a) Make products in the Appendix Q database applicable to existing buildings
b) Raise awareness and improve communications
c) Energy Company Obligation (ECO) to support product recognition in SAP
d) Have regular reviews of EPC recommendations to include new technologies efficiently
e) Re-evaluate balance of evidence barriers, whilst protecting consumers

## Slide 19: SAP developments to help support innovative technologies
Questions for industry:
Do you have feedback about the benefits/risks/implementation considerations for any of these developments?
In particular, please provide any views on option E. Do you think this would be useful in supporting innovative technologies? How do you think consumer protection risks could be mitigated?
Do you have further ideas for how SAP could be developed to help support innovative technologies?
Do you have any wider thoughts on how to support the wider deployment of innovative technologies in buildings?
Copy of questionnaire and responses : isaac@eua.org.uk
End

## Slide 20
#2 Smart Controls, technologies and tariffs
Leader:
Colin Timmins

## Slide 21
SAP 11 Working Group
Smart controls, technologies and tariffs
Update - 6th March 2019

## Slide 22: Group membership

## Slide 23: SAP 10
The calculation is independent of factors related to the individual characteristics of the household occupying the dwelling when the rating is calculated, for example:
  household size and composition;
  ownership and efficiency of particular domestic electrical appliances;
  individual heating patterns and temperatures

## Slide 24: Heating Controls in SAP 10
Room thermostat
Time switch
Programmer
Programmable room thermostat
Delayed start thermostat
Thermostatic radiator valve (TRV)
Programmable TRV
Communicating TRV
Cylinder thermostat
Flow switch
Boiler interlock (gas and oil boilers)
Bypass
Boiler energy manager
Time and temperature zone control
Weather compensator
Enhanced weather compensator
Load compensator
Enhanced load compensator
Controls for electric storage heaters

## Slide 25: Calculation of mean internal temperature for heating
“Other control in PCDB”

## Slide 26: Agreed points from WG discussion (draft)
Boundary condition that SAP 11 measurement will cover running cost, energy use, carbon intensity, and Primary Energy Factor.
We need to retain the ‘ability to compare’ properties.
These technologies may require the recognition of non-fixed appliances. (Two levels of SAP?)
Variability in carbon intensity between day and night rates of electricity may already be possible to build into SAP 10.

## Slide 27: Agreed points from WG discussion (draft)
Evidence from Europe and elsewhere needs to be reviewed.
Need to check the references to smart controls in EN15232.
Should there be credits for installation competence to address potential technological barriers?
Technologies could be very different so some future proofing may be needed.

## Slide 28: Draft Technology List
Smart control functionalities
  Improvements to boiler efficiency
    Adjusting power consumption/standby
  Time control
    Setting schedules to shorten heating periods
    Occupancy detection (e.g. Geo fencing/home sensors)
    Remote control (manual)
    Remote control (automated)
    Learning of occupancy patterns
    ‘Nudging’ users to shorten heating periods
  Temperature control
    Setting schedules (e.g. setback)
    Learning of users heating preferences
    ‘Nudging’ users to reduce setpoint temperatures
    Improving Control Accuracy (CA value)
  Zone control
    Setting schedules around occupancy
    Responding to occupancy
    Learning occupancy patterns
    Learning occupancy preferences
  Hot water storage
    Learning hot water consumption preferences
    Choosing lowest cost heat source
    Choosing lowest carbon intensity heat source
  Heat source selection
  Response to different costs/carbon content
  Use of thermal storage (hot water or structure)
  Responding to heating source and needs of appliance (e.g. Boiler vs heat pump)
  Automatic balancing

## Slide 29: Draft Technology List
Demand side response controls
  DSR enabled
  Power
  Duration
  Response time
  Residential Demand Side management
  Connected/Smart products and technologies and architecture
  Monitoring (e.g. IAQ)
  HCALCS
DSR market measures
  Frequency services
  Local energy market
  Time of use tariffs
  Tiered
  Half hourly
  Flat with service coupling
  Export market
DSR appliances/loads
  Heating
    Gas boilers
    Electric boilers
    Hybrid boilers
    CHP
    Heat Pumps
    Electric room heaters
  Domestic hot water storage
  Solar thermal
  Thermal stores
  Battery storage
  Renewables
  Microgeneration
  Voltage optimisation
  Electric vehicle to grid integration.
  Smart chargers
  Cooling
  MVHR
  Home appliances

## Slide 30: Links to EPBD Smart Readiness Indicator?

## Slide 31
End

## Slide 32
#3 Home energy storage (heat and electricity)
CoLeaders:
Gill Kelleher
Hanaé Chauvaud de Rochefort

## Slide 33
SAP Industry Forum Group (SAPIF)
Home energy Storage
(heat and electricity) Working Group
Co Chairs:
Gill Kelleher - Active Building Centre
Hanae Chauvaud de Rochefort – Association for Decentralised Energy

## Slide 34: Members/ Contributors
Organisation
Association Decentralised Energy (ADE)
Active Building Centre
BEAMA
APPG Storage (REA)
SSE
Bosch
Glen Dimplex
Engie
Moxia
Sav Systems
Geo
Contributors
SPECIFIC
Andris Bankovskis
Melius Homes Ltd
Mackintosh Environmental Architecture Research Unit Glasgow School of Art

## Slide 35: Home Energy Storage Technologies
Terms of Reference: Review the technologies for storing both heat and electric energy, from (say) one day to inter-seasonal, and from individual to district level storage; encompasses storage of heat in the ground (in both solid & liquid mediums); all types of batteries and any other technologies. Covering the following areas:
Source: BEAMA

## Slide 36: Identified Working Scope/ Overlaps
Home Energy Storage
Domestic hot water
Overheating
Smart Cotrols
Ventilation & Indoor Air Quality
Domestic Hot Water WG
Out of our scope: heating & storage of water
Q: Long term where are boundaries for working groups?
Smart Controls WG
Q: Pricing and costing benefits of storage?
Overheating WG
Q: Is thermal mass included in its scope?
Q: Is capturing waste heat included?
Q: Which group does heat and electricity generation fit into?

## Slide 37: Requirements for Success
What is Requirement for success?
    1 Will be maintained and developed in support of Building Regulations and other Government policies, such as those that facilitate energy efficiency improvements.
When do we need it?
March 2020
Establish sources of information and basic explanations of techs expected to be mature in mid-2020s.
- Produce recommendations for modelling criteria
Establish modelling criteria for the performance of technologies and how compliance judged at both product and dwelling level.
What are we measuring?
Primary Energy? How will it interact with Smart Flexible Energy Plan?
Exceed or achieve Buildings Mission 2030?
How can this capture the benefits from Active Buildings ?
2. SAP and the provision of SAP assessments must be sufficiently robust, providing consumer protection and minimising the risk that anticipated fuel bill savings are not achieved.
3. To achieve this, SAP must be reactive to a changing evidence-base and continuously seek to enhance accuracy. SAP must also support the recognition of innovative energy saving technologies, where relevant, whilst maintaining a robust and impartial assessment that preserves simplicity to minimise assessment cost.’

## Slide 38: Project Plan
Qtr 1 2019 | Qtr 2 | Qtr 3 | Qtr 4 | Qtr 1 2020
Recruit members | Working group development meetings - Overlaps |  |  | 
BRE/BEIS current SAP10 workshop | Map out technology pathways | Consolidate methodology proposals | Establish draft Recommendations | Deliver Recommendations
 | Part L Review |  |  | 

## Slide 39: Questions and views welcome!
Are we missing anything?
Other groups we could speak to?
Would you like to sign up to the Home Energy Storage Working Group?
Please get in touch!
hanae.derochefort@theade.co.uk
gill@activebuildingcentre.com

## Slide 40: Examples

## Slide 41: Working Definition of Active Buildings
“a building which integrates solar generation and storage technologies for both electricity and heat within its construction, rather than being heated by gas, and which is controlled by an intelligent system to optimise energy management and comfort for inhabitants. Active Buildings aim to be net energy generators, and have the potential to utilise the surplus energy to trade”
Industrial Strategy Challenge Fund, Transforming Construction, March 2018

## Slide 42: Technology Examples: Active Homes Neath
Pathfinder project to demonstrate homes as power stations at scale
User friendly with affordable warmth in mind
Running costs £600 – £900 per year. Approx. 50% of equivalent
Fabric first with solar strategy for heat and power
Design and build contract
Onsite now, completion summer 2019
Affordable Housing Review
  Standards for affordable homes – building regs
  Incentives – linked to council tax?
  Affordability should include energy costs
Buildings which share energy
Energy as a service

## Slide 43: Active Office
  Fabric first
    Proven envelope – reduced thermal demand
  Combine solar thermal & Solar PV – with metering
  Integrated Vehicle charging
    Chargers for excess solar
  Thermal Store – ability to timeshift heating demand –
    Classroom heating demand is same as any other building
  Flexibility and option for thermochemical store at a later date

## Slide 44: Decarbonisation of Heat
Opportunities
Thermo-chemical storage at SPECIFIC
High energy density when compared to water storage
Allows for industrial heat recovery
Industrial and automotive trials underway
Peak summer time generation can be used in winter
Great retrofit potential

## Slide 45: Example of ADE activity: An energy productivity coalition
The 2016 UK Energy Productivity Audit, published ahead of the launch of the Government’s discussion paper on its Industrial Strategy, outlines a strong case for putting energy productivity at the heart of its review.

## Slide 46: Example of ADE activity – Partnership with Renewable UK
To highlight how decarbonisation can boost industrial competitiveness
Challenge for the System Operator and renewable generators in keeping a balanced grid
Users can provide flexibility in many ways, including by changing their usage behaviours, using on site efficient generation and/or through battery storage technology.

## Slide 47: Example of ADE activity - ACE Research Manchester Local Energy Story
To reveal how residents and businesses across Greater Manchester are benefiting from energy efficiency and local, low carbon energy supply
Greater Manchester has set itself an ambitious challenge to be carbon neutral by 2040
903,000 significant upgrades to home efficiency since 2005, potential to upgrade a further 800,000 homes which have Energy Performance Certificate (EPC) ratings of D or lower
End

## Slide 48
#4 Overheating including prevention and cooling
CoLeaders:
David Bush
Phil Brown

## Slide 49
SAPIF:
Working Group #4 Overheating
David Bush – British Blinds and Shutter Association
Phil Brown – Glass and Glazing Federation

## Slide 50
Working Group Members
Dave Bush and Zoe De Grussa
Neil Freshwater
Phil Brown
Jodie Evans and Owen Gallagher
Matthew Hurd

## Slide 51
So far...
Two Meetings between members.
Outlined technologies that are available that can prevent overheating risk.
Started creating a ‘working’ overheating context document about the reasons for overheating and recognised mitigation methods.
Created a Dropbox for all members to access and compile evidence.
Identified areas in the group where we do not have expertise.

## Slide 52
Well documented that overheating is a problem!

## Slide 53
It’s a combination of factors that contribute to overheating!
1. Site Context = Dynamic Modelling Approach needed that considers realistic and
future External Air Temperatures and potential Noise & Air Quality Issues.
2. Higher External Air Temperatures = Requirement for better ventilation.
3. External Heat Gains = Improved façade/building design (Thermal Mass, Glazing & Shading).
4. Internal Heat Gains = Requirement for better ventilation.
5. Fundamentally it comes down to… Poor building design that doesn’t work holistically or consider variability in occupant behaviour!

## Slide 55
New Technologies to reduce Overheating Risk...
Dynamic Glazing
  New Products: Suspended Particle Device
        Thermochromic
  Polymer Dispersed Liquid Crystal
  Electrochromic… among others.
  Improved Fabric Performance Data.
  Considered in relation to more accurate site contexts.
Dynamic Shading
  New Products: Automated and Manual Motorised Systems.
          Improved Fabric Performance Data.
  Improvement on use of products through automation and motorisation.
  Energy Balance Approach considered across Summer and Winter.
  Considered in relation to more accurate site contexts.
Thermal Mass
Energy Generation
  New Products: Building-integrated photovoltaics
Ventilation
  New Products: Mechanical Ventilation Heat Recovery (MVHR)
          Accurate Natural Ventilation
  Considered in relation to more accurate site contexts.

## Slide 56
Gaps in Working Group
Building Simulation Methodologies
Acoustics (External Façade Panelling combined with ventilation)
Ventilation and Indoor Air Quality
Case Studies of buildings where all or a combination of outlined technologies have been considered.
Questions from Working Group
Has it been confirmed whether a Dynamic or Static Simulation Method will be used to improve the Overheating Assessment?

## Slide 57
Thank you for Listening
End

## Slide 58
#5 Ventilation and Indoor Air Quality (IAQ)
CoLeaders:
Adrian Regueira-Lopez
Nick Howlett

## Slide 59: iaq and ventilation Wg
SAP industry forum
march 2019

## Slide 60: OBJECTIVES
To establish the state of the art of the technologies/systems coming in the mid-2020s.
To propose some modelling criteria for the performance (and compliance) of the technologies identified.
To work with government and the SAP contractor develop this further, if necessary.

## Slide 61: SCOPE
New control systems that directly address air quality e.g. VOCs, CO, CO2, NOx, humidity are within scope.
Do not conflict with Part F!

## Slide 62: MEMBERSHIP
Mainly ventilation manufacturers:
  AERECO
  AIRFLOW
  BEAMA
  ENVIROVENT
  FETA
  NUAIRE
  TITON
  WEST ENERGY
Further members welcome

## Slide 63: MEETINGS
Introductory meeting – February 2019
Next meeting scheduled for beginning April 2019

## Slide 64: VENTILATION IN SAP
Ventilation is covered in the following aspects:
  Air permeability (and heat recovery)
  Energy efficiency and energy use
  In-use factors (insulation, ducting, installation…)
Ventilation controls are not covered (scope)
Notes: How it fits with Part L revision

## Slide 65: VENTILATION IN SAP
Ventilation technologies make little impact on SAP ratings
Continuous ventilation not particularly encouraged (especially after SAP 10 changes)
Comparison of SAP Examples |  |  |  |  | 
SAP Example | DER | SAP Rating | Primary Energy | Space Heating Demand | Pumps and fans
System 1 | 18.79 kg/m² | 82 (B) | 102 kWh/m² | 7898 kWh | 86 W
PIV (loft) | 18.79 kg/m² | 82 (B) | 102 kWh/m² | 7898 kWh | 86 W
PIV (outside) | 19.26 kg/m² | 78 (C) | 108 kWh/m² | 7168 kWh | 1022 W
MEV (PCDB) | 18.66 kg/m² | 81 (B) | 102 kWh/m² | 7658 kWh | 224 W
dMEV (PCDB) | 18.43 kg/m² | 82 (B) | 101 kWh/m² | 7658 kWh | 86 W
MVHR (inside, Level 1) | 17.56 kg/m² | 81 (B) | 98 kWh/m² | 6449 kWh | 642 W
MVHR (inside, Level 2) | 18.12 kg/m² | 80 (C) | 101 kWh/m² | 6824 kWh | 642 W
MVHR (outside, insulated) | 19.78 kg/m² | 79 (C) | 110 kWh/m² | 7935 kWh | 642 W
MVHR (outside, not insulated) | 20.83 kg/m² | 79 (C) | 115 kWh/m² | 8753 kWh | 542 W
Notes: How it fits with Part L revision

## Slide 66: VENTILATION – STATE OF THE ART
Natural v. Mechanical
Continuous v. Intermittent
Positive v. Balanced v. Negative
Centralised v. Decentralised
Manual Controls v. Automatic Controls
Central Controls v. Local Controls
With pre-heating
With filtration
With heat recovery
  MVHR
  Integrated with a heat pump
Not all possibilities are covered!
Notes: How it fits with Part L revision

## Slide 67: VENTILATION – FUTURE TECHNOLOGIES
Marginal efficiency gains
IAQ and Health
  E.g. Outside air filtration technologies
  Impact on energy performance may need consideration in SAP
Ventilation controls
  Air flow variations between minimum and maximum
Connectivity
  Internet of Things
  Remote control
  Internet-connected
+ Part-F driven
Notes: How it fits with Part L revision

## Slide 68: COMPLIANCE AND SURVEILLANCE
Government’s compliance and surveillance checks need to be enhanced.
The importance of the ‘compliance gap’ has recently been acknowledged by the CCC as a very important step to achieve buildings fit for the future.
This is particularly important for ventilation

## Slide 69: IAQ & VENTILATION WG - BARRIERS
Part F revision underway
  It will have an impact on the future of the industry
Energy efficiency v. IAQ
Conflict with individual manufacturer’s own product development projects

## Slide 70: IAQ & VENTILATION WG - OVERLAPS
Ventilation plays a role in overheating
Ventilation may be used to alleviate overheating risks
Comparison of SAP Examples |  |  |  |  | 
SAP Example | Overheating risk - June | Overheating risk - July | Overheating risk - August | DER | SAP Rating
Baseline | None | None | None | 18.79 | 82 (B)
Windows slightly open | None | Slight | Slight | 18.79 | 82 (B)
Trickle vents only | Slight | Medium | High | 18.79 | 82 (B)
Trickle vents + Cross Vent | Slight | Medium | Medium | 18.79 | 82 (B)
MVHR (inside) | Slight | Medium | Medium | 17.51 | 81 (B)
MVHR (outside) | None | Slight | Slight | 20.83 | 79 (C)
High air permeability | Slight | Medium | High | 19.56 | 81 (B)
Low thermal mass | Medium | High | High | 18.41 | 82 (C)
High thermal mass | Slight | Medium | Medium | 19.59 | 81 (B)

## Slide 71: IAQ & VENTILATION WG – NEXT STEPS
Feedback from SAPIF meeting
Learn from other WG approaches
Next meeting in April 2019
End

## Slide 72
Summary
The overall objectives:
Initial awareness
Publicise each WGs work + opportunity to contribute.
WG overlaps and interfaces with other WGs
End Q1 2020 and Part L is out of scope
Key aspects:
For SAP 11
Complete end Q1 2020
New technologies - available in mid-2020s onwards
Performance Modelling criteria and how judge compliance
End

## Slide 73
SAPIF WGs’ Data Store
Shared SAPIF folder with subfolders for each working group
You’ll receive a link in an email from John Henderson looking something like this:

## Slide 74
Access is limited to named recipients of the link (SAPIF members)
Simplest way to access the folder is to click on this link each time
If you are asked for a password, that is your own email password – not one set by BRE / RDL / BEIS (so don’t ask us what it is!)
Should all ‘just work’, but let us know if any teething problems that you think are not fixable at your end
SAPIF WGs’ Data Store
End

## Slide 75
The next steps
What would you like ……
What is the timeline …..
What are the outputs ….
Future SAPIF meeting(s) …. Objectives ….
June / July Leaders / CoLeaders only “Are we all OK?”
October Open to all “How are we doing?”
January 2020 Open to all “Last chance before handover”
March 2020 Leaders / CoLeaders only Presentation of findings
End

## Slide 76
thankyou
www.robustdetails.com