|  | EUROPEAN COMMISSION DIRECTORATE-GENERAL FOR ENERGY DIRECTORATE B – Internal Energy Market |
| --- | --- |

2st Interim Report EG3

Version 0.8

Content

- Objectives

- Approach

- Results H1 2018

- Workplanning H2 2018

Annexes

Annex 1: ToR

Annex 2: Received Use cases document

Annex 3: The 10 categories used for the analysis

Annex 4: EG3 analysis assignment

Brussels, July 2018

Authors:

Andres Pintobello

Louise Rensburg

Mathilde Lallemand

Peter Hermans

- Objectives

The ToR of the expert group are provided in annex 1.

The scope of the work is on the deployment of explicit demand response in Europe. This refers to enabling final customers to become active in the market but also to system operators to make best use of flexibility in order to ensure efficient system operation on a regional level.

As such, aspects of the work should include but is not limited to:

1.  Access and use flexibility (for all market parties)

- Opening of all markets for DR to compete with generation, including TSO and DSO acquisition of flexibility

- System Operators facilitation of Demand Response (including e.g. data access)

- TSO and DSO coordination on activation and use of flexibility

2. Framework arrangements between final customers, aggregators, and suppliers (or their BRPs) and possibly other actors in the following areas:

- Information exchange and confidentiality

- Physical usage effects (balancing responsibility, energy flows)

- Economic effects and financial flows

- Measurement and validation (incl. baselining)

- Consumer rights and contractual arrangements (incl. aggregators and residential customers)

The objective of the working group is to continue the work on the deployment of demand response at European level by:

- Identifying success stories and best regulatory practices across Europe.

- Identifying and analysing other issues linked to the wider concept of demand side flexibility.

- Identifying the remaining gaps that have to be addressed at EU level and propose if there should be further and more specific EU action (e.g. a network code) and the areas that such EU actions will have to cover.

Relevant outputs of the group, such as use cases, will be disseminated to the European Standardisation Organisations (ESOs), so that standardisation gaps can be identified and addressed.

The group will build on previous work of the Smart Grids Task Force, as well as on existing studies and market models for demand response in EU and worldwide (including USEF, the Penta-lateral Forum, TSO-DSO cooperation a.o.). The existing and envisaged EU legislation - including network codes - shall be the main framework of the work (reference list)

- Approach

2017

In 2017  EG 3 group adopted the following approach:

- Define specific questions that need to be addressed on each of the topics, and cluster them around two main topics:

  - Access and use of flexibility (for all market parties)

  - Framework/contractual arrangements (between consumer, aggregator and supplier (or their BRPs), System Operators)

- It was decided to base the analysis of these questions on studies, pilots that actually have been executed in Europe or are active on the moment. Participants were invited from the expert group to provide use cases example that allow to specifically respond to the questions.

- After a short survey to investigate whether this approach would work, the questionnaire for  use cases was published end of 2017

2018

- By the end of march 2018 , 41 use case were received mounting up to a document of 331 pages. ( this document can be found in annex 2)

- In a  EG 3 meeting held on 29 April in Brussels, the first views coming from these use cases were discussed. The EG3 group also discussed how to proceed with the analysis, as it was recognized that a significant task (analyzing 331 pages) was lying ahead. The EG3 group agreed on the following approach:

- The editorial team performed a first assessment of the use cases and has identified 12 categories as main topics on which the group will have to make a description of barriers and initial recommendations in the interim report. The categories were based on the already identified questions, while each of the use cases will contribute to one or more categories according to their relevance (these categories can be found in annex 3) The EG 3 group adopted this methodology.

- Per category EG3 members including members of the editorial team were assigned  (see annex 4) and were asked to focus in the analysis on the following 4 items:

    - Topic description

    - Barriers

    - Recommendations

    - Open questions

    - The deadline for submitting the analysis results was set  on 22th of june.

- During the analysis it  became clear that, due to incomplete answers in some use cases, the EG3 group needed some additional guidance. On 7th of june the following additional guidance was given:

- Use cases are to be used as illustration, and as a tool for analysis. But they do not constitute an exhaustive review of all existing projects.

- The aim is to extract themes of barriers, issues and learnings. It is proposed to start from the uses cases that provide the most meaningful information, especially on lessons learned.

- Read through all  use cases and, in order to come to a meaningful report, use your own  expertise to provide meaningful description, of barriers, recommendations and questions. Reference back to use cases should be made as far as possible, to ensure the work is as evidenced based as possible.

The editorial team met on 10th of July and discussed the received input and  produced  a first draft set of identified barriers and proposed recommendations.

- Draft overview of perceived barriers and proposed recommendations

- These  will be published   beginning of September and will  be discussed in the EG3  October meeting, and will constitute the main report once finalized.

- Workplanning  H2 2018

- Compiling the first full set of perceived barriers and proposed recommendation, by the editorial team by 20th of July

- Publishing this 2th interim report before 1-8-2018

- Publishing the draft  document on perceived barriers and proposed recommendations by the editorial team before 7-9-2018

- Requesting the EG3 group to respond to the draft set of perceived barriers and  proposed recommendations to the editorial team before 21-09-2018

- Physical meeting of EG3 on 2-10-2018 to discuss  the document on  perceived barriers and proposed recommendations

- Finalizing the document by the editorial team, and  publishing it to the EG3 group for final acceptance before 1-11-2018

- Closing this EG3 assignment by 1-12-2018

Annexes

Annex 1: ToR

The final version of the ToR is attached to the present interim report.

Annex 2: The received Use  Cases

Annex 3: the 10 categories used as structure for the analysis

Cat. 1: Definition of flexibilities (all UC)

- Flexibility Users, flexibility Providers, flexibility resources (assets, complementary of different types)

- Which kind of markets and products are in scope

Cat. 2: Technical solutions: smart devices (use cases 5, 6, 9, 10,13, 16, 21, 22, 28, 36, 37, 38,

40)

- Metering Equipment

- Energy Management Systems

- Communication Infrastructure

- Participation of customer (sensors, price signal, smart meters, Algorithm to control the load)

- Interoperability of devices and solutions

- Ownership of equipment/solutions

Cat.3:Flexibility platform(s) (use cases 2, 3, 5, 7,8, 12, 14, 24, 29, 18, 36, 37, 38, 39, 40)

- Digital infrastructure

- Connect the actors together

- Data exchange

- Ownership/operation of the platform(s)

- Involve PEXs

- Product design for TSO/DSO needs (2,3, 4, 5, 6, 12,15, 18, 36, 37, 39, 40, 41)

- Definition of needs

- Definition of products

- Link to existing market products

- Long term versus short term needs

Cat. 4 Product design for TSO/DSO needs (2,3, 4, 5, 6, 12,15, 18, 36, 37, 39, 40, 41)

- Definition of needs

- Definition of products

- Link to existing market products

- Long term versus short term needs

Cat 5: Market coordination and market processes (use cases 2, 3, 4, 5, 6,7, 12, 14, 15, 16, 18,

30, 36, 37, 38, 39, 40)

- Roles and responsibilities

- Split by market process (BM, DA-ID, CM) and coordination

- No “local”: active system management

- coordination function should be addressed for each market: integrated vision/fragmentation

- Contractual relations / responsibility and liability

- TSO-DSO coordination, prequalification of bids to take into account grid constraints

- Liquidity (short-term products versus long term contracts)

- Information exchange

Cat. 6: Market access for flexibility providers (2, 3, 4, 5, 6, 8,15, 18, 37, 38, 39, 40, 41)

- Aggregator role

- Explicit/implicit participation, coordination of both

- Signals: grid signals, price signals, DSR signals

- Residential/industrial customers

Cat. 7: Privacy and Security (37, 38, 39, 40)

- Customer protection: to define better

- Data security: all kind of data

- GDPR to take into account

Cat.8 Measurement, validation and settlement (2, 3, 4, 5, 37, 38, 39, 40, 41)

- Baseline

- Ex-post analysis

- Validation

- Data exchange

Cat.9: Customer perspective (use  cases 2, 4, 6, 8, 10, 16, 37, 39, 40, 41)

- Access to market

- Contracting with aggregator

- Customer experience

- Engagement for residential customers

- Separation between industrial and residential customers

- Definition of customer: also engaged in generation

Cat. 10 : System/Grid (use case 2, 4, 5, 9, 16, 7, 13, 14, 15, 17, 18, 31, 37, 39, 40, 41)

- Forecasting of flexibility needs

- Grid observability

- Operational planning: congestion, balancing, stability, voltage control etc.  – related call for bid and services

- Microgrid

Cat. 11: Market and technology readiness (overarching question)

- How to build a sustainable growth based on heterogeneous local use cases?

- What need for regulation?

Cat. 11 Economics/ financials (41)

- Also including how to develop markets

Annex 4: Composition of Groups for each Category (leas in bold)

Category 1: Definition of flexibilities

| Name | Association | email |
| --- | --- | --- |
| Louise VAN RENDSBURG | CCER | Louise.vanRensburg@ofgem.gov.uk |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Andres PINTO-BELLO GOMEZ | SmartEN | andres.pintobello@smarten.eu |
| Hans DE HEER | USEF | Hans.deHeer@dnvgl.com |

Category 2: Technical solutions: smart devices

| Name | Association | email |
| --- | --- | --- |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Andres PINTO-BELLO GOMEZ | SmartEN | andres.pintobello@smarten.eu |
| Nikoleta ANDREADOU | JRC | Nikoleta.ANDREADOU@ec.europa.eu |
| Martin BERGEMANN | EHI | martin.bergemann@siemens.com |
| Renzo COCCIONI | Orgalime/T&D Europe | renzo.coccioni@schneider-electric.com |
| Mustafa UGUZ | CECED | mustafa.uguz@arcelik.com |
| Willem STRABBING | ESMIG | wstrabbing@esmig.eu |

Category 3: Flexibility platform(s)

| Name | Association | email |
| --- | --- | --- |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Nikoleta ANDREADOU | JRC | Nikoleta.ANDREADOU@ec.europa.eu |
| Jan PEDERSEN | GEODE | Jan.Pedersen@ae.no |

Category 4: Product design for TSO/DSO needs

| Name | Association | email |
| --- | --- | --- |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Louise VAN RENDSBURG | CEER | Louise.vanRensburg@ofgem.gov.uk |
| Torsten KNOP | EDSO | torsten.knop@innogy.com |

Category 5: Market coordination and market processes

| Name | Association | email |
| --- | --- | --- |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Jan PEDERSEN | GEODE | Jan.Pedersen@ae.no |
| Stefan VOGEL | CEER | stefan.voegel@e-control.at |

Category 6: Market access for flexibility providers

| Name | Association | email |
| --- | --- | --- |
| Andres PINTO-BELLO GOMEZ | SmartEN | andres.pintobello@smarten.eu |
| Hans DE HEER | USEF | Hans.deHeer@dnvgl.com |
| Alain TACCOEN | EURELECTRIC | alain.taccoen@edf.fr |

Category 7: Privacy and Security

| Name | Association | email |
| --- | --- | --- |
| Louise VAN RENDSBURG | OFGEM | Louise.vanRensburg@ofgem.gov.uk |
| Nikoleta ANDREADOU | JRC | Nikoleta.ANDREADOU@ec.europa.eu |

Category 8: Measurement, validation and settlement

| Name | Association | email |
| --- | --- | --- |
| Hans DE HEER | USEF | Hans.deHeer@dnvgl.com |
| Louise VAN RENDSBURG | CEER | Louise.vanRensburg@ofgem.gov.uk |
| Hans VANDENBROUCKE | ENTSO-E | hans.vandenbroucke@elia.be |
| Alain TACCOEN | EURELECTRIC | alain.taccoen@edf.fr |
| Stefan VOGEL | CEER | stefan.voegel@e-control.at |

Category 9: Customer perspective

| Name | Association | email |
| --- | --- | --- |
| Andres PINTO-BELLO GOMEZ | SmartEN | andres.pintobello@smarten.eu |
| Louise VAN RENDSBURG | CEER | Louise.vanRensburg@ofgem.gov.uk |
| Martin BERGEMANN | EHI | martin.bergemann@siemens.com |

Category 10: System/Grid

| Name | Association | email |
| --- | --- | --- |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Renzo COCCIONI | Orgalime/T&D Europe | renzo.coccioni@schneider-electric.com |
| Torsten KNOP | EDSO | torsten.knop@innogy.com |
| Hans VANDENBROUCKE | ENTSO-E | hans.vandenbroucke@elia.be |

Category 11: Market and technology readiness

| Name | Association | email |
| --- | --- | --- |
| Louise VAN RENDSBURG | CEER | Louise.vanRensburg@ofgem.gov.uk |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Andres PINTO-BELLO GOMEZ | SmartEN | andres.pintobello@smarten.eu |
| Hans DE HEER | USEF | Hans.deHeer@dnvgl.com |

Category 12: Economics/ financials

| Name | Association | email |
| --- | --- | --- |
| Louise VAN RENDSBURG | CEER | Louise.vanRensburg@ofgem.gov.uk |
| Mathilde LALLEMAND | ENTSO-E | mathilde.lallemand@entsoe.eu |
| Peter HERMANS | CEDEC | peter.hermans@stedin.net |
| Andres PINTO-BELLO GOMEZ | SmartEN | andres.pintobello@smarten.eu |
| Hans DE HEER | USEF | Hans.deHeer@dnvgl.com |

Not yet assigned

| Name | Association | email |
| --- | --- | --- |
| Kristina ALEKSANDROVA | ANEC | Kristina.Aleksandrova@anec.eu |
| Vlatka CORDES | ebix | vlatka.cordes@westnetz.de |
| Eva HENNIG | eurogas | eva.hennig@thuega.de |
| Angeliki MALIZOU | BEUC | Angeliki.Malizou@beuc.eu |
| Markus MERKEL | eurelectric | Marcus.Merkel@ewe-netz.de |
| Kees SPARREBOOM | ebix | Kees.Sparreboom@tennet.eu |
| Thomas WILLSON | ECOS | thomas.willson@ecostandard.org |

Annex 5 document of perceived barriers and recommendations

This document will be published by 10-10-2018